## Slide 1: IOT AND CLOUD COMPUTING
By,
Ass. Prof. Kunal D Gaikwad
Pursuing PHD (IOT and Machine Learning)
M.E(Computer Networks)
B.E(Computer Science & Engineering)
Diploma(Computer Engineering)
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 2
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 3
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 4
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT
DHT11 Temperature and Humidity Sensor
The DHT11 is a digital temperature and humidity sensor that provides calibrated output via a single-wire communication protocol. It is commonly used in weather monitoring systems, home automation, and IoT applications.
1. Weather Monitoring Systems
🌤️ Used in DIY and professional weather stations to measure temperature and humidity levels.
2. Home Automation & Smart Homes
🏡 Integrated into IoT-based smart home systems for automatic climate control, triggering fans, air purifiers, or dehumidifiers.
3. Greenhouse Monitoring
🌱 Helps maintain optimal temperature and humidity levels for plant growth in agricultural environments.
4. Industrial Environmental Monitoring
🏭 Used in factories and warehouses to monitor environmental conditions that affect machinery and stored goods.
5. HVAC (Heating, Ventilation, and Air Conditioning) Systems
❄️ Helps in climate control systems by providing real-time temperature and humidity data for automated adjustments.
DHT22 Temperature and Humidity Sensor

## Slide 5
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT
DHT11 Temperature and Humidity Sensor
Specifications:
Temperature Range: 0°C to 50°C (±2°C accuracy)
Humidity Range: 20% to 90% RH (±5% accuracy)
Operating Voltage: 3.3V - 5V
Output Signal: Digital (single-wire)
Sampling Rate: 1 Hz (one reading per second)
Response Time: ~2 seconds
Dimensions: 15mm x 12mm x 5mm
Pinout:
VCC - Power supply (3.3V or 5V)
Data - Digital output (connect to a pull-up resistor, typically 4.7kΩ)
GND - Ground

## Slide 6
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 7
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 8
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 9
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 10
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 11
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 12
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 13
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT
Temperature
Humidity

## Slide 14
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 15
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 16
#include<DHT.h>
#include<ESP8266WiFi.h>
String apiKey = "L50AZYU1DFHJTWMU";//Write API Key
constchar *ssid = "Nari"; //Wifi-Hotspot Name
constchar *pass = "naresh123"; //Wifi-Hotspot password
constchar* server = "api.thingspeak.com";
#defineDHTPIN D4
DHT dht(DHTPIN, DHT11);
WiFiClient client;
voidsetup()
{
Serial.begin(115200);
delay(1000);
dht.begin();
Serial.println("Connecting to ");
Serial.println(ssid);
WiFi.begin(ssid, pass);
while(WiFi.status() != WL_CONNECTED)
{
delay(2000);
Serial.print(".");
}
Serial.println("");
Serial.println("WiFi connected");
}
voidloop()
{
float h = dht.readHumidity();
float t = dht.readTemperature();
if(isnan(h) || isnan(t))
{
Serial.println("Failed to read from DHT sensor!");
return;
}
if(client.connect(server,80)) //"184.106.153.149" or api.thingspeak.com
{
String postStr = apiKey;
postStr +="&field1=";
postStr += String(t);
postStr +="&field2=";
postStr += String(h);
postStr += "\r\n\r\n";
client.print("POST /update HTTP/1.1\n");
client.print("Host: api.thingspeak.com\n");
client.print("Connection: close\n");
client.print("X-THINGSPEAKAPIKEY: "+apiKey+"\n");
client.print("Content-Type: application/x-www-form-urlencoded\n");
client.print("Content-Length: ");
client.print(postStr.length());
client.print("\n\n");
client.print(postStr);
Serial.print("Temperature: ");
Serial.print(t);
Serial.print(" degrees Celcius, Humidity: ");
Serial.print(h);
Serial.println("%. Send to Thingspeak.");
}
client.stop();
Serial.println("Waiting...");
delay(1000);
}
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 17
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 18
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT

## Slide 19
Ass. Prof. Kunal D Gaikwad
CSE Department, CMRIT